## Slide 1: ALTAIR Series APP – AC Freedom
Global Product Management
  May 30, 2018

## Slide 2: AC Freedom
APP Introduction
WIFI Module Installation
  Model for 60Hz 115V 12K High Wall Inverter
  Model for others
    60Hz 230V High Wall Inverter
    60Hz 230V High Wall Fixed
    60Hz 115V High Wall Fixed
    50Hz 220V High Wall Inverter
    50Hz 220V High Wall Fixed

## Slide 3
APP
APP Name
  AC Freedom
Mobile Phone
  Operation system : Android and iOS
Android System
IOS System

## Slide 4
Press the “HEALTH” button quickly for 8 times.
  Time should be less than 2s between 2 press.
Wait for the double beep voice.
Initialization finished.
Initializes WIFI module
Press
8 times

## Slide 5: Configuration
Connect WIFI and Open the APP
Type in the WIFI name and password
Configuration takes up to about 1 min.
Successful Configuration

## Slide 6: Operation
Operating Interface
Cooling Mode
Heating Mode/
Five operation modes
Week Timer
Temperature/Wind
Selection

## Slide 7: More Control Options
Remote Control
Module
Cloud Serve
Family
Model
Air Conditioner
Mobile
Optional WIFI Adapter

## Slide 8: AC Freedom
APP Introduction
WIFI Module Installation
  Model for 60Hz 115V 12K High Wall Inverter
  Model for others
    60Hz 230V High Wall Inverter
    60Hz 230V High Wall Fixed
    60Hz 115V High Wall Fixed
    50Hz 220V High Wall Inverter
    50Hz 220V High Wall Fixed

## Slide 9
WIFI Module Installation
WIFI device Installation on 60Hz 115V 12K High Wall Inverter
Models | Description
YHJE12ZX6AXBORX | 60 Hz 115V High Wall Inverter 12K Cooling Only
YHKE12ZX6AXBORX | 60 Hz 115V High Wall Inverter 12K Heat Pump

## Slide 10
Guide Book
1. Open the panel, and you will find a little terminal on right side.

## Slide 11
Guide Book
2. Connect the WIFI’s terminal.

## Slide 12
Guide Book
3. Fix the WIFI device to the Panel.
(There will be a space reserved in the panel).

## Slide 13
Guide Book
4. If there isn’t a available terminal outside,
please open the medium frame connecting wires cover.

## Slide 14
Guide Book
5. Find the wire for WIFI device and pull it out.
Sensor
WIFI
For display board

## Slide 15
Guide Book
6. Then please repeat the steps from 1-3.

## Slide 16: AC Freedom
APP Introduction
WIFI Module Installation
  Model for 60Hz 115V 12K High Wall Inverter
  Model for others
    60Hz 230V High Wall Inverter
    60Hz 230V High Wall Fixed
    60Hz 115V High Wall Fixed
    50Hz 220V High Wall Inverter
    50Hz 220V High Wall Fixed

## Slide 17
WIFI Module Installation
WIFI device Installation on below models
Models | Description
YHJE12ZJ6AXBORX | 60Hz 230V High Wall Inverter 12K CO
YHJE18ZJ6AXBORX | 60Hz 230V High Wall Inverter 18K CO
YHJE24ZJ6AXBORX | 60Hz 230V High Wall Inverter 24K CO
YHKE12ZJ6AXBORX | 60Hz 230V High Wall Inverter 12K HP
YHKE18ZJ6AXBORX | 60Hz 230V High Wall Inverter 18K HP
YHKE24ZJ6AXBORX | 60Hz 230V High Wall Inverter 24K HP
YHKE09ZEEAXAORX | 50Hz 220V High Wall Inverter 9K HP
YHKE12ZEEAXAORX | 50Hz 220V High Wall Inverter 12K HP
YHKE18ZEEAXAORX | 50Hz 220V High Wall Inverter 18K HP
YHKE24ZEEAXAORX | 50Hz 220V High Wall Inverter 24K HP
YHFE12ZXMAXAORX | 60Hz 115V High Wall Fixed 12K CO
YHGE12ZXMAXAORX | 60Hz 115V High Wall Fixed 12K HP
YHFE12ZJMAXAORX | 60Hz 230V High Wall Fixed 12K CO
YHFE18ZJMAXAORX | 60Hz 230V High Wall Fixed 18K CO
YHFE24ZJMAXAORX | 60Hz 230V High Wall Fixed 24K CO
YHGE12ZJMAXAORX | 60Hz 230V High Wall Fixed 12K HP
YHGE18ZJMAXAORX | 60Hz 230V High Wall Fixed 18K HP
YHGE24ZJMAXAORX | 60Hz 230V High Wall Fixed 24K HP
YHGE09ZE--XAORX | 50Hz 220V High Wall Fixed 9K HP
YHGE12ZE--XAORX | 50Hz 220V High Wall Fixed 12K HP
YHGE18ZE--XAORX | 50Hz 220V High Wall Fixed 18K HP
YHGE24ZE--XAORX | 50Hz 220V High Wall Fixed 24K HP

## Slide 18
Guide Book
1. Open and Disassemble the panel.

## Slide 19
Guide Book
2. Disassemble the air louver and medium frame fix screw(3).

## Slide 20
Guide Book
3. Find the 5 snap joints back of the medium frame and take them off,
then find the WIFI fixed position.

## Slide 21
Guide Book
4. Disassemble the control box and confirm the WIFI connecting terminal and wire.

## Slide 22
5. Install the control box cover and make the display board and WIFI connecting wire out of the box.
Guide Book
WIFI Connecting Wire

## Slide 23
Guide Book
6. Install the medium frame, connect the terminal and then install the unit.